| Title | Demonstrate and apply knowledge of a.c. principles for electronics technicians |
| --- | --- |
| Level | 4 | Credits | 7 |

| Purpose | This unit standard covers theory and application of alternating current (a.c.) principles for electronics technicians. People credited with this unit standard are able to: demonstrate knowledge of reactive circuits and resonance; demonstrate knowledge of self inductance and mutual inductance; demonstrate knowledge of the nature and application of three phase sinusoidal alternating currents; demonstrate knowledge of single-phase transformers; and apply knowledge of a.c. principles. |
| --- | --- |

| Classification | Electronic Engineering > Core Electronics |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

EWRB Rules of the Board and Teaching Guidelines available at www.ewrb.govt.nz;

Health and Safety at Work Act 2015;

and all subsequent amendments and replacements.

2	Definitions

a.c. – alternating current.

C – capacitance.

e.m.f. – electromotive force.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

kVA – kilovolt amperes.

L – inductance.

LCR – combination of inductance, capacitance, resistance.

MEN – multiple earth neutral system of electricity supply.

Q – quality factor; .

R – resistance.

4	Range

a	Electrical, radiation, and workshop or laboratory safety practices are to be observed at all times.

b	All measurements are to be expressed in Système Internationale (SI) units and multipliers.

c	Candidates are expected to have memorised and to be able to use the following formulae:

.

d	Use of non-programmable calculators is permitted during assessments.

e	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	company policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	EWRB Rules of the Board;

vi	safe and sound practice;

vii	applicable site, company, and industry practice.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of reactive circuits and resonance.

Performance criteria

1.1	Define reactance, impedance, admittance, conductance, and Ohm’s law for a.c. circuits.

1.2	Define and explain resonance for series and parallel LCR circuits.

Range	includes series R and L in parallel with C.

1.3	Analyse series and parallel LCR circuits by calculation, and draw phasor diagrams.

Range	analysis includes – voltages and currents, reactance, impedance, Q, bandwidth.

1.4	Outline two practical applications of reactive circuits using circuit diagrams.

Range	applications may include but are not limited to – radio tuner, power supply filtering.

Outcome 2

Demonstrate knowledge of self inductance and mutual inductance.

Performance criteria

2.1	Explain the relationship between the inductance of coils and the coil parameters, including the effect of ferrite cores.

Range	.

2.2	Determine the self-induced e.m.f. and polarity for various rates of change of current for an inductor.

2.3	Define and explain mutual induction with reference to voltage induced in the secondary coil and the coefficient of coupling.

Range	series aiding, series opposing;

.

2.4	Perform calculations involving mutual inductance, e.m.f., and the rate of change of current with respect to time to solve problems based on practical circuits.

2.5	Outline the application of an induction coil.

Outcome 3

Demonstrate knowledge of the nature and application of three phase sinusoidal alternating currents.

Performance criteria

3.1	Sketch three-phase load configurations in accordance with industry conventions.

Range	configurations – delta, 3-wire star, 4-wire star.

3.2	Draw waveform and phasor diagrams representing phase and line voltages and currents.

3.3	Give reasons for the use of three-phase in power generation, distribution and utilisation.

3.4	Outline the national power generation and distribution system in terms of basic network structure from generation to consumer, voltages, delta/star transformers, and the MEN system.

3.5	Phasor diagrams are drawn and calculations performed for star and delta three-phase systems with balanced resistive loads.

Range	calculations – line and phase voltages and currents.

Outcome 4

Demonstrate knowledge of single-phase transformers.

Performance criteria

4.1	Outline the construction of a typical transformer and define the terms.

Range	terms – primary, secondary, turns ratio, kVA rating, magnetising current, core.

4.2	Use turns ratio to estimate voltage and current ratios.

4.3	Describe different types of transformer core losses and methods to reduce core losses.

Range	core losses – eddy currents and hysteresis, constant; copper loss proportional to square of current;

core loss reduction methods – effect of laminations; use of ferrites, materials with narrow hysteresis loop, low resistance wire, toriods.

4.4	Explain the meaning of load regulation of a transformer.

4.5	Calculate the efficiency of a single-phase transformer at various load conditions and power factors, and state the conditions for maximum efficiency.

Range	conditions of maximum efficiency – copper losses, iron losses; calculation of load at maximum efficiency is excluded.

4.6	Explain the principles of auto-transformer construction and operation, and state the advantages and disadvantages compared to a double wound transformer.

Outcome 5

Apply knowledge of a.c. principles.

Range	application must relate to at least outcomes 1, 2, and 4, and may include but is not limited to – circuit construction, experiments, fault finding, projects.

Performance criteria

5.1	Apply knowledge of instruments, tests, and experimental procedure.

5.2	Apply knowledge of analysis of measurements and observations.

5.3	Record purpose, method, observations, measurements, and conclusions in accordance with a given format.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 July 2004 | 31 December 2012 |
| Review | 2 | 21 July 2011 | 31 December 2021 |
| Review | 3 | DD MM 2020 |  |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.

# Comments

Are these three separate things? i.e. eddy currents and hysteresis; constant; copper loss proportional to square of current.

Are these different effects of laminations?

Apply a.c. principles to do what? Need to add context.